## Slide 1: COLLECTION, TRANSPORT & PROCESSING OF DIFFERENT CLINICAL SAMPLE BY MBBSPPT.COM

## Slide 2: General concepts for specimen collection and handling
Specimen collection & transportation are critical considerations, because any results the laboratory generates is limited by the quality of the specimen & its condition on arrival in the laboratory.
Specimens should be obtained to preclude or minimize the possibility of introducing extraneous microorganisms that are not involved in the infectious process.

## Slide 3
Careful skin preparation such as blood cultures & spinal taps decreases the chance that organisms normally present on the skin will contaminate the specimen.

## Slide 4: Containers
Specimen containers with adhesive labels & printed request forms are usually supplied by the laboratory to its clinical users.
Re-usable glass containers are economical but disposable glass or plastic containers are generally used.
These are usually modifications of the old screw capped , cylindrical glass universal containers with a flat base & a wide mouth.

## Slide 5: Containers
The screw cap seal must be strong and entirely secure so that the contents cannot leak or become contaminated.
For faeces , the universal container should be supplied with a small metal or wooden spoon or a plastic spoon that is attached to inside of the screw cap.
If not, the spoon is placed in the clean container & sterilized with it.

## Slide 6: Containers
The user removes the screw cap, tips out the handle of the spoon, & grasps it with his fingers.
He picks up a single spoonful of faeces, drops it with the spoon into the container, & replaces the cap tightly.
For small quantities of urine eg for the diagnosis of most cases of urinary tract infections, the universal container is used.

## Slide 7: The universal container
Blood for serological examination is submitted in special glass or plastic containers with screw caps.
Blood intended primarily for blood culture should be submitted in a special , broth containing “blood culture bottle”.

## Slide 8
Blood culture bottle:
This must be large enough to hold 50 ml of liquid culture medium, with which it is issued from from the laboratory plus 5-10 ml of patient blood.
In the past , a 120 ml medical flat bottle with a special screw cap was used.
The metal cap had a central hole, about 5 mm in diameter, which was covered on the inside by an intact rubber liner.

## Slide 9
The cap was covered with plastic to maintain sterility.
Nowadays blood culture bottles containing a range of special media are available commercially.
The blood is injected by insertion of the syringe needle through a hole in the cap & through the central rubber or plastic liner.
The cap must not be removed for introduction of the blood by the clinical users.

## Slide 10: Blood culture bottle

## Slide 11: Blood culture bottle

## Slide 12
For the collection of serous fluids, eg pleural fluid, the universal container is suitable.
The addition of 0.3ml of a 20% solution of sodium citrate to the container prior to autoclaving (with the cap fitted) is recommended for the collection of fluids that may coagulate on standing.
Sputum should be collected in squat, wide mouthed disposable containers.

## Slide 13: Swabs
Swabs suitable for taking specimens of exudates from the throat, nostril, ear, skin, wounds & other accessible lesions consist of a sterile pledget of absorbent material, usually cotton wool or synthetic fibre, mounted on a thin wire or stick.

## Slide 14
The nature & preparation of the swab can markedly influence the viability of pathogens sampled on it, as inhibitory substances are known to occur in swabs of cotton-wool or synthetic fibre.
Steps to inactivate these inhibitors include boiling the swab in phosphate buffer, or coating the swab with serum or albumin or charcoal. Such pretreated swabs come in cardboard or clear plastic tubes, or plastic envelopes already sterilized.

## Slide 15
The swabs may aso be purchased loose & unsterile for assembly & sterilisation in tubes.
Swabs for special purpose:
Baby swabs: When taking specimens from babies & young children, it is often necessary to employ a very fine swab mounted on fine wire so that small orifices such as the aural meatus,may be negotiated without gross contamination from the external surfaces.

## Slide 16
Pernasal swabs: These are used for the diagnosis of whooping cough.
The swab is passed along the floor of the nasal cavity to reach & sample the secretions in the nasopharynx.
A small swab & a flexible swab wire are required to minimize the risk of damage to the nasal tissues.

## Slide 17
Disposable pernasal swabs in plastic tubes, which may or may not contain a transport media are commercially available.
Post nasal swabs are used to sample nasopharyngeal secretion for the diagnosis of meningococcal carriage.
The terminal 20 mm of a long stiff metal swab wire is bent through an angle of 45⁰, so that when introduced through the mouth, it carries the swab up behind the soft palate into the nasopharynx.

## Slide 18
The swab is contained in a stoppered test tube of sufficient width to admit the bent end.
Laryngeal swabs: these swabs are used to obtain a sample of bronchial secretion for the diagnosis of tuberculosis in patients who cannot expectorate sputum.
Their construction resembles that of post nasal swabs, but the bent, swab –bearing end should be longer, about 50mm & be more sharply bent through an angle of 60 degrees to its original direction.

## Slide 19
A very wide, stoppered tube is required to contain it. The swab is moistened with sterile water just before use, passed over the dorsum of the tongue, introduced into the larynx, where it stimulates coughing & collects the expelled secretion.
High vaginal & cervical swabs: For the diagnosis of gonorrhea & puerperal fever, a swab should be taken from the uterine cervix & its lumen, rather than from the general area of the upper vagina.
A swab on a specially long, rigid swab-stick, preferably about 22 cm long is required.

## Slide 21: Appropriate collection techniques
Specimens should be collected appropriately.Verbal & written instructions should be given .
Specimen transport:
Specimen should be transported to the laboratory within 30 minutes of collection.

## Slide 22
All specimen containers should be leak proof & the specimens should be transported within sealable, leak-proof ,plastic bags with a separate section for paperwork; resealable bags or bags with a permanent seal are common for this purpose.

## Slide 23
Many organisms are susceptible to environmental conditions such as the presence of oxygen (anaerobic bacteria), changes in temperature ( N. meningitides) or changes in pH (Shigella).
Thus, use of special preservatives or holding media for transportation of specimens delayed for more than 30 minutes is important in ensuring organism viability.

## Slide 24
Specimen preservation:
Transport or holding media maintain the viability of microorganisms present in a specimen without supporting the growth of any of the organisms. Egs Stuart’s medium & Amie’ s medium.
Sometimes charcoal is added to these media to absorb fatty acids present in the specimen so that fastidious organisms such as Neisseria gonorrhoeae or Bordetella pertussis can grow.

## Slide 25
Anticoagulants are used to prevent clotting of specimens such as blood, bone marrow and synovial fluid because organisms will be bound up in the clot.
Sodium polyanethol sulfonate at a concentration of 0.025% is used.
Heparin is a commonly used anticoagulant for viral cultures.

## Slide 26
Specimen storage:
Specimens suspected of containing anaerobic bacteria should not be stored in the refrigerator while CSF should be kept at 37°C.
Urine,stool,viral specimens, swabs & foreign devices as catheters should be stored at 4°C.
Serum for serologic studies may be frozen for upto 1 week at -20° C, and tissues or specimens for long term storage should be frozen at -70°C.

## Slide 27: Specimen labeling
Specimens should be labeled with the patient’s name,age,sex, hospital number, date, ward, time of collection and other relevant data.
Specimen requisition :
Specimen requisition is an order form that is sent to the laboratory along with a specimen.

## Slide 28
Often the requisition is a hard(paper) copy of the physician’s orders & the patient demographic information (such as name & hospital number).
If a hospital information system offers computerized order entry, the requisition is transported to the laboratory electronically.
The requisition should carry as much information as possible regarding the patient’s history, diagnosis & immunization record.

## Slide 29
A complete requisition should include the following:
The patient’s name
Hospital no.
Age or date of birth
Sex
Collection date & time
Ordering physician.
Exact nature & source of the specimen.
Diagnosis
Immunization history
Antimicrobial therapy.

## Slide 30: Rejection of unacceptable specimen
Specimen are unacceptable if
The information on the label does not match the information on the requisition.
The specimen has been transferred at the improper temperature.
The specimen has not been transferred in the proper medium.

## Slide 31
The quantity of specimen is insufficient for testing.
The specimen transport time exceeds two hours post collection & the specimen is not preserved.
The specimen is dried up.

## Slide 32
Specimen processing
When multiple specimens arrive at the same time, priority should be given to those that are most critical such as CSF, tissue, blood and sterile fluids.
Urine,throat, sputa, stool, or wound drainage specimens can be saved for later.
Acid-fast, viral and fungal specimens are usually batched for processing at one time.

## Slide 33: Direct microscopic examination
Purpose:
The quality of specimen can be assessed. Sputa can be rejected that represent saliva & not lower respiratory tract secretions by quantitation of white blood cells or squamous epithelial cells present in the specimen.
Microbiologist & clinician can be given an early indication of what may be wrong with the patient.

## Slide 34
The workup of the specimen can be guided by comparing what grows in the culture to what was seen on smear.
The most common stain in bacteriology is the Gram stain.the most common direct fungal stains are KOH (potassium hydroxide), PAS (periodic acid schiff) and calcofluor white.The most common direct acid-fast stains are ZN(Ziehl-Neelsen), AR (auramine rhodamine).

## Slide 35: Collection, transport, storage and processing of specimens commonly submitted to a microbiology laboratory.
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Aqueous/vitreous fluid | Sterile, screw-cap tube |  |  | Immediately/RT | Set up immediately on receipt | BA, CA, Mac, Sab, 7H10, thio | Gram/ AO | 
Abscess( lesion, wound, pustule,ulcer) Superficial Deep | Aerobic swab moistened with Stuart’s or Amie’s medium Anaerobic transporter | Wipe area with sterile saline or 70% alcohol Wipe area with sterile saline or 70% alcohol | Swab along leading edge of wound Aspirate material from wall or excise tissue | Within 24 hrs/RT Within 24 hrs/RT | 24 hrs/ RT 24 hrs/RT | BA, CA, Mac BA, CA, Mac, Ana, thio | Gram Gram | Add CNA if smear suggests mixed gram positive and gram negative flora
Blood or Bone marrow | Blood culture media set (aerobic and anaerobic bottle) or Vacutainer tube with SPS | Disinfect venipuncture site with 70% alcohol and disinfectant such as betadine | Draw blood at time of febrile episode; draw two sets from right and left arms | Within 2 hrs/ RT | Must be incubated at 37⁰C on receipt in laboratory | Blood culture bottles | AO or Giemsa | Other considerations: brucellosis, tularemia, cell-wall- deficient bacteria, leptospirosis, or AFB

## Slide 36
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Body Fluids Amniotic, abdominal, ascitis (peritoneal), bile, joint (synovial), pericardial, pleural | Sterile, screw-cap tube or anaerobic transporter | Disinfect skin before aspirating specimen | Needle aspiration | Immediately/ RT | Plate as soon as received | BA, CA, Mac,l Ana, thio. May substitute an anaerobic & anaerobic blood nculture bottle set for peritoneal and synovial fluids | Gram | May need to concentrate by centrifugation or filtration- stain & culture sediment
Bone | Sterile, screw-cap container | Disinfect skin before surgical procedure | Take sample from affected area for biopsy | Immediately/RT | Plate as soon as received | BA, CA, Mac, thio | Gram | May need to homogenize
Cerebrospinal fluid | Sterile, screw –cap tube | Disinfect skin before aspirating specimen | Consider rapid testing.eg, Gram stain,cryptococcaol antigen | Immediately/RT | 6 hrs/37⁰C except for viruses, which can be held at 4⁰C for upto 3 days. | BA, CA, thio | Gram- best sensitivity by cytocentrifugation | 

## Slide 37
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Aqueous/vitreous fluid | Sterile, screw-cap tube |  |  | Immediately/RT | Set up immediately on receipt | BA, CA, Mac, Sab, 7H10, thio | Gram/ AO | 
Abscess( lesion, wound, pustule,ulcer) Superficial Deep | Aerobic swab moistened with Stuart’s or Amie’s medium Anaerobic transporter | Wipe area with sterile saline or 70% alcohol Wipe area with sterile saline or 70% alcohol | Swab along leading edge of wound Aspirate material from wall or excise tissue | Within 24 hrs/RT Within 24 hrs/RT | 24 hrs/ RT 24 hrs/RT | BA, CA, Mac BA, CA, Mac, Ana, thio | Gram Gram | Add CNA if smear suggests mixed gram positive and gram negative flora
Blood or Bone marrow | Blood culture media set (aerobic and anaerobic bottle) or Vacutainer tube with SPS | Disinfect venipuncture site with 70% alcohol and disinfectant such as betadine | Draw blood at time of febrile episode; draw two sets from right and left arms | Within 2 hrs/ RT | Must be incubated at 37⁰C on receipt in laboratory | Blood culture bottles | AO or Giemsa | Other considerations: brucellosis, tularemia, cell-wall- deficient bacteria, leptospirosis, or AFB

## Slide 38
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Body Fluids Amniotic, abdominal, ascitis (peritoneal), bile, joint (synovial), pericardial, pleural | Sterile, screw-cap tube or anaerobic transporter | Disinfect skin before aspirating specimen | Needle aspiration | Immediately/ RT | Plate as soon as received | BA, CA, Mac,lAna, thio. May substitute an aerobic & anaerobic blood culture bottle set for peritoneal and synovial fluids | Gram | May need to concentrate by centrifugation or filtration- stain & culture sediment
Bone | Sterile, screw-cap container | Disinfect skin before surgical procedure | Take sample from affected area for biopsy | Immediately/RT | Plate as soon as received | BA, CA, Mac, thio | Gram | May need to homogenize
Cerebrospinal fluid | Sterile, screw –cap tube | Disinfect skin before aspirating specimen | Consider rapid testing.eg, Gram stain,cryptococcaol antigen | Immediately/RT | 6 hrs/37⁰C except for viruses, which can be held at 4⁰C for upto 3 days. | BA, CA, thio | Gram- best sensitivity by cytocentrifugation | 

## Slide 39
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Ear Inner Outer | Sterile, screw-cap tube or anaerobic transporter Aerobic swab moistened with Stuart’s or Amie’s medium | Clean ear canal with mild soap solution before myringotomy Wipe away crust with sterile saline | Aspirate material behind drum with syringe if ear drum intact; use swab to collect material from ruptured ear drum. Firmly rotate swab in outer canal | Immediately/RT Immediately/RT | 6 hrs/RT 24 hrs/RT | BA, CA,Mac, thio BA, CA,Mac | Gram Gram | Add anaerobic culture plates for tympanocentesis specimens
Eye Conjunctiva Corneal scrapings | Aerobic swab moistened with Stuart’s or Amie’s medium Beside inoculation of BA, CA, Sab, 7H10, thio | Clinician should instill local anaesthetic before collection | Sample both eyes; use swab premoistened with sterile saline Sample both eyes; use swab premoistened with sterile saline | Within 24 hrs/RT Immediately/RT | 24 hrs/RT Must be incubated at 28°C or 37°C(other media) on receipt in laboratory | BA, CA, Mac BA, CA, Sab, 7H10,Ana, thio | Gram, AO, histologic stains,eg, Giemsa Gram/AO | Other considerations: Chlamydia trachomatis, viruses and fungi Other considerations: Acanthamoeba spp., herpes simplex viruses, Chlamydia trachomatis and fungi.

## Slide 40
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Foreign bodies IUD IVcatheters, pins, prosthetic valves | Sterile, screw-cap container Sterile, screw-cap container | Disinfect skin before removal Disinfect skin before removal | Do not culture Foley catheters; IV catheters are cultured quantitatively by rolling the segment back and forth across agar with sterile forceps 4 times; ≥ 15 colonies are associated with clinical significance. | Immediately/RT Immediately/RT | Plate as soon as received Plate as soon as received | Thio BA, Thio |  | 
GI Tract Gastric aspirate Gastric biopsy Rectal swab Stool culture | Sterile, screw-cap tube Sterile, screw-cap tube Swab placed In enteric transport medium\ Clean, leak-proof container | Collect in early AM before patient eats or gets out of bed | Most gastric aspirates are on infants or are for AFB Rapid urease test or breath test for Helicobacter pylori Insert swab= 2.5 cm past anal sphincter Routine culture should include Salmonella, Shigella and Campylobacter; specify Vibrio, Aeromonas, Plesiomonas, Yersinia, Eschrichia coli O157: H7, if needed. | Immediately/RT Immediately/4°C Within 24 hrs/ 4°C Within 24 hrs/ 4°C | Must be neutralized within 1 hr of collection Must be set up immediately on receipt 72 hrs/4° C 72 hrs/4° C | BA,CA, Mac, CNA Skirrow’s, BA BA, Mac, XLD or HE, Campy BA, Mac, XLD or HE, Campy | Gram/AO Methylene blue for fecal leucocytes Methylene blue for fecal leucocytes | Other considerations: AFB Other considerations: Vibrio, Yersinia enterocolitica, Escherichia coli 0157: H7

## Slide 41
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
O & P | O & P transporters (eg, 10% formalin 7& PVA) | Collect 3 specimens every other day at a minimum for outpatients;hospitalized patients should have 3 specimens collected everyday. | Wait 7-10 days if patient has received antiparasitic compounds, barium, iron, Kaopectate, metronidazole, Milk of magnesia, Pepto-Bismol, or tetracycline. | Within 24 hrs/RT | Indefinitely/ RT |  |  | 

## Slide 42
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Genital Tract Female Bartholin cyst Cervix Cul-de-sac Endometrium Urethra Vagina Male Prostate Urethra | Anaerobic transporter Swab moistened with Stuart’s or Amie’s medium Anaerobic transporter Anaerobic transporter Swab moistened with Stuart’s or Amie’s medium Swab moistened with Stuart’s or Amie’s medium or JEMBEC transport system Swab moistened with Stuart’s or Amie’s medium or sterile, screw cap tube Swab moistened with Stuart’s or Amie’s medium or JEMBEC transport system | Disinfect skin before collection Remove mucus before collection of specimen Remove exudate from urethral opening Remove exudate Clean glans with soap and water. | Aspirate fluid; consider Chlamydia & GC culture. Do not use lubricant on speculum; use viral/chlamydial transport medium, if necessary; swab deeply into endocervical canal Submit aspirate Surgical biopsy or transcervical aspirate via sheathed catheter. Collect discharge by massaging urethra against pubic symphysis or insert flexible swab 2-4 cm into urethra & rotate swab for 2 seconds. Swab secretions andx mucus membrane of vagina. Collect secretions on swab or in tube Insert flexible swab 2-4 cm into urethra & rotate for 2 seconds or collect discharge on JEMBEC transport system. | Within 24 hrs/RT Within 24 hrs/ RT Within 24 hrs/RT Within 24 hrs/RT Within 24 hrs/RT Within 24 hrs/RT Within 24 hrs/RT for swab; immediately if in tube/RT Within 24 hrs/RT for swab; within 2 hrs for JEMBEC system | 24 hrs/ RT 24 hrs/RT 24 hrs/ RT 24 hrs/ RT 24 hrs/ RT 24 hrs/ RT Swab: 24 hrs/RT; tube: plate secretions immediately 24 hrs/RT for swab; put JEMBEC at 37°C immediately on receipt in laboratory. | BA, CA, Mac, TM, Ana BA, CA, Mac, TM BA, CA, Mac, TM, Ana,thio BA, CA, Mac, TM, Ana,thio BA, CA, TM BA, CA, Mac, TM, CNA BA, CA, Mac, TM, CNA BA,CA,TM | Gram Gram Gram Gram Gram Gram Gram Gram | Other consideration: Chlamydia, Mycoplasma Examine Gram stain for bacterial vaginosis, especially white blood cells, gram-positive rods indicative of lactobacillus & curved , gram negative rods indicative of Mobiluncus spp. Other considerations:Chlamydia, Mycoplasma

## Slide 43
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Hair, nail or skin scrapings (for fungal culture) | Clean, screw-top tube | Nails or skin: wipe with 70% alcohol | Hair: collect hairs with intact shaft Nails: send clippings of affected area Skin: scrape skin at leading edge of lesion. | Within 24 hrs/RT | Indefinitely/ RT | Sab, IMAcg, Sabcg | CW | 
Lower BAL, BB, BW | Sterile , screw –top container |  |  | Within 24 hrs/RT | 24 hrs/4°C | BA, CA, Mac | Gram and other stains as requested, eg., Legionella DFA, acid-fast stain | Other considerations: quantitative culture for BAL, AFB, Legionella, Nocardia, Mycoplasma, Pneumocystis, cytomegalvirus

## Slide 44
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Sputum, tracheal aspirate (suction) | Sterile , screw –top container |  | Sputum: have patient collect from deep cough; specimen should be examined for suitability for culture by Gram stain. | Within 24 hrs/RT | 24 hrs/4°C | BA, CA, Mac | Gram and other stains as requested, eg., Legionella DFA, acid-fast stain | Other considerations: AFB, Nocardia
Upper Nasopharynx Pharynx(throat) | Swab moistened with Stuart’s or Amie’s medium Swab moistened with Stuart’s or Amie’s medium |  | Insert flexible swab through nose into posterior nasopharynx and rotate for 5 sec Swab posterior pharynx & tonsils | Within 24 hrs/RT Within 24 hrs/RT | 24 hrs/4°C 24 hrs/4°C | BA, CA BA |  | Add special media for Corynebacterium diphtheria, pertussis, Chlamydia & Mycoplasma Add special media for C.diphtheriae & Neisseria gonorrhoeae

## Slide 45
Specimen | Container | Patient preparation | Special instructions | Transportation to laboratory | Storage prior to processing | Primary plating media | Direct examination | Comments
Tissue | Anaerobic transporter or sterile, screw ca-p tube |  | Do not allow specimen to dry out; moisten with sterile, distilled water if not bloody | Within 24 hrs/RT | 24 hrs/4°C | BA,CA,Mac, Ana, thio | Gram | May need to homogenize
Urine Clean-voided midstream Straight catheter (in & out) Indwelling catheter( Foley) | Sterile, screw cap container Sterile, screw cap container Sterile, screw cap container | Females: clean area with soap & water, then rinse with water; hold labia apart & begin voiding, after several mL have passed, collect midstream. Males: clean glans with soap & water, then rinse with water; retract foreskin ; after several mL have passed collect midstream. Clean urethral area (soap & water) & rinse. Disinfect catheter collection port | Insert catheter into bladder; allow 1st 15 ml to pass; then collect remainder Aspirate 5-10 mL of urine with needle & syringe | Within 2 hrs/ 4°C Within 2 hrs/ 4°C | 24 hrs/4°C 24 hrs/4°C | BA, Mac BA, Mac | Gram or check for pyuria Gram or check for pyuria | 

## Slide 46
Selection of culture media
Routine primary plating media and direct examination for specimens commonly submitted to the microbiology laboratory are given in the table.
Specimen preparation
Many specimens require some form of initial treatment before inoculation onto primary plating media.

## Slide 47
Such procedures include homogenization(grinding) of tissue; concentration by centrifugation or filtration of large volumes of sterile fluids , such as ascitis (peritoneal) or pleural (lung) fluids; or decontamination of specimens, such as those for mycobacteria.

## Slide 48
Inoculation of solid media
Specimens can be inoculated onto solid media either quantitatively by a dilution procedure or by means of a quantitative loop or semiquantitatively using an ordinary inoculating loop.

## Slide 49
Collection & transport of specimens of URTI:
Cotton, Dacron or Calcium alginate-tipped swabs are suitable for collecting most upper respiratory tract microorganisms.
If the swab remains moist, no further precautions need be taken for specimens that are cultured within 4 hours of collection..

## Slide 50
Throat swabs are adequate for recovery of adenoviruses and herpesviruses, Corynebacterium diphtheria, Mycoplasma, Chlamydia and Candida spp.
Nasophryngeal swabs are better suited for recovery of respiratory syncytial virus, parainfluenza virus, Bordetella pertussis, neisseria spp., and other viruses causing rhinitis.

## Slide 51
Although swabs made of calcium alginate are commonly used to collect nasopoharyngeal secretions, aspirated nasopharyngeal secretions collected in a soft rubber bulb or plastic-tipped catheter are the best specimens for Bordetella pertussis.
Media for B. pertussis: Regan- Lowe or Charcoal horse blood agar.

## Slide 52
LRTI:
Sputum:
Expectorated: Patients should be instructed to provide a deep-coughed specimen. The material should be expelled into a sterile container with an attempt to minimize contamination by saliva.Specimen should be transported to the laboratory immediately.

## Slide 53
Induced:Patients who are unable to produce sputum may be assisted by respiratory therapy technicians, who can use postural drainage and thoracic percussion to stimulate production of acceptable sputum.
As an alternative, an aerosol –induced specimen may be collected that is useful for isolating the agents of mycobacterial or fungal disease.

## Slide 54
Aerosol induced specimens are collected by allowing the patient to breathe aerosolized droplets of a solution containing 15% sodium chloride & 10% glycerin for approximately 10 minutes or until a strong cough reflex is initiated.
The gastric aspirate is used exclusively for isolation of acid-fast bacilli & may be collected from patients who are unable to produce sputum,particularly young children.

## Slide 55
Before the patient wakes up in the morning, a nasogastric tube is inserted into the stomach and contents are withdrawn.
Endotracheal or tracheostomy suction specimens:
Patients with tracheostomies are unable to produce sputum in the normal fashion, but lower respiratory tract secretions can easily be collected in a Lukens trap.

## Slide 56
During bronchoscopy, ,physicians can obtain either bronchial washing or aspirates, bronchoalveolar lavage samples, protected bronchial brush samples or specimens for transbronchial biopsy.
CSF:
A lumbar puncture is one of the first steps in the workup of a patient with suspected CNS infection particularly meningitis.

## Slide 57
Specimen collection & transport:
CSF is collected by aseptically inserting a needle into the subarachnoid space usually at the level of the lumbar spine.
Three or four tubes of CSF should be collected & immediately labeled with the patient’s name.
Tube 3 or 4 is used for cell count and differential.

## Slide 58
The other tubes can be used for both microbiologic and chemical studies .
The volume of CSF is critical for detection of certain microorganisms such as mycobacteria & fungi.
A minimum of 5-10 ml is recommended for detection of these agents by centrifugation & subsequent culture.

## Slide 59
Specimens should never be refrigerated. If not rapidly processed , CSF should be incubated or left at room temperature.
CSF for viral studies may be refrigerated for 24 hours after collection or frozen at -70⁰C if a longer delay is anticipated until they are inoculated.

## Slide 60
Initial processing: Centrifugation of all specimens greater than 1 ml in vol for atleast 15 min at 1500 g.
The supernatant is removed to a sterile tube leaving 0.5 ml of fluid in which to suspend the sediment before visual examination or culture.
The supernatant can be used to test for the presence of antigens or for chemistry evaluations (eg protein, glucose, lactate).

## Slide 61
Gram stain must be performed on all CSF sediments.
The presence or absence of bacteria, inflammatory cells and erythrocytes should be reported.
Wet preparation: Amoebas are best observed by examining mixed sediment as a wet preparation under phase contrast microscopy.
India Ink stain: The large polysaccharide capsule of Cryptococcus neoformans allows these organisms to be visualized by the India ink stain.

## Slide 62
Brain abscess /biopsies:
Specimen collection, transport & processing: whenever possible, biopsy specimens or aspirates from brain abscesses should be submitted to the laboratory under anaerobic conditions.
Several devices are commercially available to transport biopsy specimens under anaerobic conditions.

## Slide 63
Swabs are not considered an optimum specimen but if used to collect abscess material they should be sent in a transport device that maintains an anaerobic environment.
Biopsy specimen should be homogenized in sterile saline before plating & smear preparation.

## Slide 64
Infections of the eye:
Specimen collection & transport:
Purulent material from the surface of the lower conjunctival sac and inner canthus of the eye is collected on a sterile swab for cultures of conjunctivitis.
Both eyes should be cultured separately.

## Slide 65
Chlamydial cultures are taken with a dry calcium alginate swab & placed in 2-SP transport medium. An additional swab may be rolled across the surface of a slide, fixed with methanol, & sent if direct fluorescent antibody stains are used for detection.
In the patient with keratitis, an ophthalmologist should obtain scrapings of the cornea with a heat sterilized platinum spatula.

## Slide 66
Multiple inoculations with the spatula are made to BA, CA, an agar for fungi, thioglycollate broth, an anaerobic BA plate.
For culture of HSV & adenovirus, corneal material is transferred to viral transport media.
Specimen collection and transport: for the laboratory diagnosis of external otitis, the external ear should be cleansed with a mild germicide.

## Slide 67
Material from the ear, especially that obtained after spontaneous perforation of the eardrum or by needle aspiration of middle ear fluid should be collected by an otolaryngologist using sterile equipment.
UTI:
Specimen collection: Prevention of contamination by normal vaginal, perineal and anterior urethral flora is the most important consideration for collection of a clinically relevant urine specimen.

## Slide 68
Clean –catch mid stream urine.
Specimen transport: Bacterial counts in refrigerated (4⁰C) urine remain constant for as long as 24 hours.
Urine transport tubes containing boric acid, glycerol and sodium formate have been shown to preserve bacteria without refrigeration for as long as 24 hours when greater than 105 CFU/ml were present in the initial urine specimen.

## Slide 69
Blood stream infections:
Specimen collection: The vein from which the blood is to be drawn must be chosen before the skin is to be disinfected.70% alcohol is applied & an antiseptic is then applied to kill surface & subsurface bacteria.
Blood culture media: basic blood culture media contain a nutrient broth & an anticoagulant like 0.025% sodium polyanethol sulfonate.Most blood culture bottles available commercially contain BHI broth, thioglycolate broth, trypticase soy broth, supplemented peptone.

## Slide 70
Thank You